## CCR Index
CCR INDEX | [19 empty] | 3.1.0
CCR # | ACE # | CONTROL CONFIGURATION | COM Ch 1 / IP ADDRESS | COM Ch 2 / IP ADDRESS | CCR DESCRIPTION | STEP | kW | INTERNAL CCI VOLTAGE | OUTPUT CURRENT | MANUFACTURER & MODEL | INPUT MONITORING | OUTPUT MONITORING | AGLAS MASTER # | Remote Count | CIRCUIT SELECTOR NAME | LOOP1 | LOOP2 | LOOP3 | LOOP4 | INPUT VOLTAGE | Vault (Define only if Multiple Vaults) | VAULT NAMES | 4
AGLAS?
CSS?
MULTIPLE VAULTS?
Note on D2: ACE IP ADDRESS (Primary): Single Vault 10.176.50.X (X=ACE #) Multiple Vaults 10.176.50+N.X (N=Node #, X=ACE #)
Note on E2: ACE IP ADDRESS (Secondary): Single Vault 10.180.50.X (X=ACE #) Multiple Vaults 10.180.50+N.X (N=Node #, X=ACE #)
Note on X4: Unhide AGLAS Columns
Note on X5: For Multiple Vaults, Key in all CCRs and I/O then define which Vault the element belongs to via the new Vault column. No spaces are required.
Note on X6: For Multiple Vaults, Key in all CCRs and I/O then define which Vault the element belongs to via the new Vault column. No spaces are required.

## Misc IO
MISCELLANEOUS CONTROL AND MONITORING INDEX | [8 empty] | 3.1.0
DEVICE NUMBER | DEVICE TYPE | COM Ch 1 / IP ADDRESS | COM Ch 2 / IP ADDRESS | SLOT (ACE 3) | I/O CHANNEL | DESCRIPTION | I/O TYPE | CONTROL OR MONITORING TYPE DESCRIPTION | COMMENTS / MISCELLANEOUS NOTES
0
0
CCR Index & Miscellaneuos I/O Approval
| Print Name | [6 empty] | Date
Approved by
Representing
Note on C2: ACE IP ADDRESS (Primary): Single Vault 10.176.50.(199+X) (X= I/O ACE #) Multiple Vaults 10.176.50+N.(199+X) (N=Node #, X= I/O ACE #) Moxa/ADAM: 10.176.0.(100+X) (X = Device #)
Note on D2: ACE IP ADDRESS (Secondary): Single Vault 10.180.50.X (X=ACE #) Multiple Vaults 10.180.50+N.X (N=Node #, X=ACE #) Moxa/Adam (Secondary): N/A
Note on E2: ACE 3 Slot 0-7 0: Default Card 1-7: Input/Output Cards
Note on F2: ADAM/MOXA: Inputs: I0 - I6 Outputs: O0 - O6 ACE 3: Calculate by Slot Position Slot 0: 0-2 --> Inputs; 0-5 --> Outputs (There can be multiple 0,1, or 2s) Slot 1: 8-15 (Inputs or Outputs) Slot 2: 16-23 Slot 3: 24-31 Slot 4: 32-39 Slot 5: 40-47 Slot 6: 48-55 Slot 7: 56-63 ACE 1/2: Inputs: 0-7 Outputs: 15-8

## Topology
TOPOLOGY INDEX | [5 empty] | 3.1.0 | IP Standards - Where X = Node Number
NODE | DEVICE DESCRIPTION | PRIMARY IP ADDRESS | SECONDARY IP ADDRESS | TERTIARY IP ADDRESS | SUBNET | COMMENTS / MISCELLANEOUS NOTES | DEVICE DESCRIPTION | PRIMARY IP ADDRESS | SECONDARY IP ADDRESS | TERTIARY IP ADDRESS | SUBNET | VARIABLE DEFINTIONS | TYPICAL NODE #s
[7 empty] | CPU | 10.176.0.N | 10.180.1.N | 10.185.2.N | /16 | N = NODE # | 1 = Vault
[7 empty] | UPS (Single at Node) | 10.176.200.N |  |  | /16 | N = NODE # | 2 = ATCT
[7 empty] | UPS (Multiple at Node) | 10.176.(200+X).N |  |  | /16 | N = NODE #, X = UPS # at Node | 3 = Maintenance Center
[7 empty] | MOXA/ADAM | 10.176.0.(100+X) |  |  | /16 | X = Device # | 4,5,N = Other Nodes
[7 empty] | Managed Switch | 10.176.100.N |  |  | /16 | N = NODE # | For Redudant nodes and Multiple Vaults, Consult System Engineer
[7 empty] | Radio | 10.176.N.(19+X) |  | 10.185.N.(19+X) | /16 | N = NODE #, X = Radio # at Node
[7 empty] | Secomea/VPN | 10.176.0.123 |  |  | /16
Note on A2: Description of Node i.e. Vault, ATCT, Maintenance Center, Operations, etc.
Note on B2: Description of Device i.e. CPU, UPS, Moxa, Radio, Switch, etc.
Note on J8: For Remote Locations not connected to a CPU Node, the Node should be the location where the Remote Radio is pointed toward/connected to

## Control Methodology
Presets, Touchscreen Pages, & Circuit Definitions | [8 empty] | Presets, Touchscreen Pages, & Circuit Definitions
Preset Definitions |  |  |  | Touchscreen Pages |  |  |  |  | Preset Definitions |  |  |  | Touchscreen Pages
ID | Description | Combo # |  | ID | Description |  |  |  | ID | Description | Combo # |  | ID | Description
1 |  |  |  | 1 |  |  |  |  | 1 | RWY 12-30 OFF | 1 |  | 1 | Preset Page
2 |  |  |  | 2 |  |  |  |  | 2 | RWY 12 | 1 |  | 2 | Runway Page
3 |  |  |  | 3 |  |  |  |  | 3 | RWY 30 | 1 |  | 3 | Taxiway Page
4 |  |  |  | 4 |  |  |  |  | 4 | RWY 28R-10L OFF | 2 |  | 4 | Power Page
5 |  |  |  | 5 |  |  |  |  | 5 | RWY 28R-10L | 2 |  | 5 | Utility Page
6 |  |  |  | 6 |  |  |  |  | 6 | RWY 28L-10R OFF | 3 |  | 6
7 |  |  |  | 7 |  |  |  |  | 7 | RWY 28L-10R | 3 |  | 7
8 |  |  |  | 8 |  |  |  |  | 8 | RWY 33-15 OFF | 4 |  | 8
9 |  |  |  | 9 |  |  |  |  | 9 | RWY 33-15 | 4 |  | 9
10 |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10
11 |  |  |  | 11 |  |  |  |  | 11 |  |  |  | 11
12 |  |  |  | 12 |  |  |  |  | SAMPLE CONFIGURATION
13 |  |  |  | 13
14 |  |  |  | 14
15 |  |  |  | 15
Circuit Definitions | [5 empty] | Circuit Notes |  | Preset Operations | Preset Configuration Notes:
ID | Button Descriptions | Page | Type | Steps | Child Circuits |  |  |  | The Project Engineer is responsible for setting the Circuit Preset Rules. IF there are any special circumstances related to the circuit, please notate in the Circuit Notes column: For each circuit there are 4 options available: FOLLOW FAA: Follow the FAA recommended Presets (Outlined in FAAO 7110.65 tab) OFF: Turns the circuit off in this preset mode (typical reserved for Off or unselected operations) IGNORE: This means the circuit is not part of this operation and will thusly ignore the preset STATE MAP #: Will override the FAA recommended Preset with the selected Step (If circuit is on)
5
5
5
5
5
5
5
5
[7 empty] | 5 |  | Circuit Definitions | [5 empty] | Preset Operations
[7 empty] | 5 |  | ID | Button Descriptions | Page | Type | Steps |  | RWY 18 36 OFF | RWY 18 36 | RWY 12 30 OFF | RWY 12 | RWY 30
[7 empty] | 5 |  | 1 | RWY 18 36 | Runway Page | Runway | 5 |  | OFF | FOLLOW FAA | IGNORE | IGNORE | IGNORE
[7 empty] | 5 |  | 2 | RWY 18 36 SIGNS | Runway Page | SIGN | 3 |  | OFF | STATE MAP 2 | IGNORE | IGNORE | IGNORE
[7 empty] | 5 |  | 3 | TWY A | Taxiway Page | Taxiway | 3 |  | OFF | FOLLOW FAA | OFF | FOLLOW FAA | FOLLOW FAA
[7 empty] | 5 |  | 4 | TWY B | Taxiway Page | Taxiway | 3 |  | OFF | FOLLOW FAA | OFF | FOLLOW FAA | FOLLOW FAA
[7 empty] | 5 |  | 5 | RWY 12 30 | Runway Page | Runway | 3 |  | IGNORE | IGNORE | OFF | FOLLOW FAA | FOLLOW FAA
[7 empty] | 5 |  | 6 | RWY 12 PAPI | Runway Page | PAPI | 5 |  | IGNORE | IGNORE | IGNORE | OFF | FOLLOW FAA
[7 empty] | 5 |  | 7 | RWY 12 30 RGL | Runway Page | RGL | 3 |  | FOLLOW FAA | FOLLOW FAA | FOLLOW FAA | FOLLOW FAA | FOLLOW FAA
[7 empty] | 5 |  | SAMPLE CONFIGURATION
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
Note on K21: Any abnormal notes regarding circuits, Examples: Mututally Exclusive w/Circuit X Button Only shows up on Tower HMI Button Does not show up on Tower HMI Special Color Map requested
Note on AC5: All combos need an OFF operation to be fully defined. The 1st Preset in a combo needs to be the OFF operation
Note on AD5: Combo is a collection of Operational settings. Like operations belong to the same combo (i.e. RWY 12, RWY 30)

## Preset Values
Visibility |  | Day | [15 empty] | Night | [14 empty] | Twilight
Greater Than 5 Miles |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | For Application Engineers Only to Update Text Descriptions
ID | Button Descriptions | [47 empty] | AIS | AIS Primary Channel Text Description
[48 empty] | Check to Enable/Disable 3rd Day/Night Definition (i.e. Twilight) | AIS | AIS Secondary Channel Text Description
[49 empty] | 5 STEP | 5 Step Colormap Text Description
[48 empty] | Check to Enable/Disable Extra Visibility Setting (i.e. < 600 ft) | RWY MASTER PANEL | 5 Step Quick Step Text Description
[49 empty] | 3 STEP | 3 Step Colormap Text Description
[49 empty] | TWY MASTER PANEL | 3 Step Quick Step Text Description
Control Methodology Approval
| Approved by | [19 empty] | Date
Print Name
Representing
3.1.0
Visibility |  | Day | [15 empty] | Night | [14 empty] | Twilight
3 To 5 Miles |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
ID | Button Descriptions
COMMENTS
3.1.0
Visibility |  | Day | [15 empty] | Night | [14 empty] | Twilight
2 To 3 Miles |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
ID | Button Descriptions
COMMENTS
3.1.0
Visibility |  | Day | [15 empty] | Night | [14 empty] | Twilight
1 To 2 Miles |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
ID | Button Descriptions
COMMENTS
3.1.0
Visibility |  | Day | [15 empty] | Night | [14 empty] | Twilight
Less Than 1 Mile |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
ID | Button Descriptions
COMMENTS
3.1.0
Visibility |  | Day | [15 empty] | Night | [14 empty] | Twilight
Less Than 1200 Feet |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
ID | Button Descriptions
COMMENTS
3.1.0
Visibility |  | Day | [15 empty] | Night | [14 empty] | Twilight
Extra Visibility (As Needed) |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
ID | Button Descriptions
COMMENTS
3.1.0
Special |  | Radio 1 | [8 empty] | Radio 2 | [8 empty] | Radio 3
Radio Control |  | Default |  | Low (3 Clicks) |  | Medium (5 Clicks) |  | High (7 Clicks) |  |  | Default |  | Low (3 Clicks) |  | Medium (5 Clicks) |  | High (7 Clicks) |  |  | Default |  | Low (3 Clicks) |  | Medium (5 Clicks) |  | High (7 Clicks)
ID | Button Descriptions
COMMENTS
3.1.0

## System Readiness Check (CCR)
CCR Test Sheet for | <Input Airport Name> |  |  |  | Firmware Versions (If Installed)
Circuit Name | CCR Size (kW) | Rating | Steps | ACE # | ACE Firmware | URC4 Firmware | IRMS Firmware
| Actual Measurements To Be Recorded |  |  |  | Reference Information
Output Steps Validation | Output Current | Output Voltage | Output VA | Output Wattage | 6.6 Amp CCR's |  | 20 Amp CCR's
| Amps | Volts | VA | W | 3 Step Currents | 5 Step Currents | 5 Step Currents
| Amps | Volts | VA | W | 4.8 | 2.8 | 8.5
| Amps | Volts | VA | W | 5.5 | 3.4 | 10.3
| Amps | Volts | VA | W | 6.6 | 4.1 | 12.4
| Amps | Volts | VA | W | --- | 5.2 | 15.8
[5 empty] | --- | 6.6 | 20
| √ = Passed, N / A = Not Applicable, N / T = Not Tested |  |  |  | MAX Voltages | @6.6 | @20
CCR Status Monitoring (Input) | Validated @ CCR |  | @ Database (check if applicable) |  | 4 kW | 606
Primary Power | Verified at CCR |  | Verified at database |  | 7.5 kW | 1136
Remote/Local | Verified at CCR |  | Verified at database |  | 10 kW | 1515
[5 empty] | 15 kW | 2272
CSR Option: |  |  |  |  | 20 kW | 3030
Current Sensing Relay | Verified at CCR |  | Verified at database |  | 30 kW | 4545 | 1500
[5 empty] | 50 kW |  | 2500
| Actual Measurements To Be Recorded |  |  |  | 70 kW |  | 3500
Input Monitoring Validation | Measured @ CCR |  | @ Database (check if applicable) |  | General Notes:
Input Current | Amps |  | Verified at database |  | 1. No more than 2 burnt lamps on the circuit. ADB must know the exact amount of lamps burnt before a calibration can be performed. 2. The circuit must comply with AC 150/5345-10F paragraph 3.5.L 3. If circuit does not comply, Lamps out calibration can be performed to allow for reporting of Low VA only, Lamps Out functionality will not work properly. 4. For Low VA Alarms to funtion Lamps Calibration must be performed with warning and alarm values set to zero. 5. If a resistor reading is out of tolerance, ADB must investigate the reason and comment on why.
Input Voltage | Volts |  | Verified at database
Input Power | VA |  | Verified at database
| Actual Readings To Be Recorded |  | LO Calibration (per contract)
IRMS Monitoring Validation | Actual Ω | Tolererances | Lamps Out Calibration
Field Circuit Reading by ACE | Ω | See Note 5 | Required
3 MΩ Resistor Reading by ACE | MΩ | 2.85MΩ - 3.15MΩ (±5%) | See Notes 1, 2, & 3
Field Circuit (Hand Held) Optional | Ohms |  | Not Required
|  |  | See Note 4 |  | SRC Revision | 3.1.0
Comments
Completed By (Please Print Name) |  |  | Signature / Initials |  |  |  | Date
Page [Page] of [Pages] Pages

## System Readiness Check (IO)
Miscellaneous I/O Test Sheet for |  |  | <Input Airport Name>
ACE™ NUMBER | ACE™ CHANNEL | DESCRIPTION | I/O TYPE | ADDITIONAL CONTROL OR MONITORING NOTES | Validated
37
Comments
Completed By (Please Print Name) |  |  | Signature |  | Date
SRC Revision |  | 3.1.0 |  |  | Page [Page] of [Pages] Pages

## CCR Import (hidden)
Keyword | CCR Name | ACE Controlled? | # Steps | Default State | Colormap Text Description | Quick Step Text Description | AIS Primary Channel Text Description | AIS Primary Comm Port | AIS Secondary Channel Text Description | AIS Secondary Comm Port | Vault
[12 empty] | AIS | AIS Primary Channel Text Description
[12 empty] | AIS | AIS Secondary Channel Text Description
[12 empty] | 5 STEP | 5 Step Colormap Text Description
[12 empty] | RWY MASTER PANEL | 5 Step Quick Step Text Description
[12 empty] | 3 STEP | 3 Step Colormap Text Description
[12 empty] | TWY MASTER PANEL | 3 Step Quick Step Text Description

## FAAO 7110.65
| Generic Visibility Table (150-5345-56) | [7 empty] | Sequence Flashing Lights (SFL)
| Range | Day |  |  | Night |  |  |  | Range | Day |  |  | Night
|  | 5 | 3 | 1 | 5 | 3 | 1 |  |  |  | 3 | 1 |  | 3 | 1
1 | Less Than 1200 Feet | 5 | 3 | 1 | 5 | 3 | 1 | 1 | Less Than 1200 Feet |  | 3 | 1 |  | 2 | 1
2 | Less Than 1 Mile | 5 | 3 | 0 | 4 | 2 | 1 | 2 | Less Than 1 Mile |  | 3 | 1 |  | 2 | 1
3 | 1 To 2 Miles | 4 | 0 | 0 | 3 | 1 | 1 | 3 | 1 To 2 Miles |  | 2 | 1 |  | 2 | 1
4 | 2 To 3 Miles | 3 | 0 | 0 | 3 | 1 | 1 | 4 | 2 To 3 Miles |  | 2 | 1 |  | 1 | 1
5 | 3 To 5 Miles | 0 | 0 | 0 | 2 | 1 | 1 | 5 | 3 To 5 Miles |  | 0 | 0 |  | 0 | 0
6 | Greater Than 5 Miles | 0 | 0 | 0 | 1 | 1 | 1 | 6 | Greater Than 5 Miles |  | 0 | 0 |  | 0 | 0
| Runway End Identifier Lights (REIL) | [7 empty] | Runways, Runway Centerline Lights, & Touchdown Zones
| Range | Day |  |  | Night |  |  |  | Range | Day |  |  | Night
|  |  | 3 | 1 |  | 3 | 1 |  |  | 5 | 3 | 1 | 5 | 3 | 1
1 | Less Than 1200 Feet |  | 3 | 1 |  | 3 | 1 | 1 | Less Than 1200 Feet | 5 | 3 | 1 | 4 | 3 | 1
2 | Less Than 1 Mile |  | 3 | 1 |  | 3 | 1 | 2 | Less Than 1 Mile | 5 | 3 | 1 | 4 | 3 | 1
3 | 1 To 2 Miles |  | 3 | 1 |  | 2 | 1 | 3 | 1 To 2 Miles | 4 | 3 | 1 | 3 | 2 | 1
4 | 2 To 3 Miles |  | 2 | 1 |  | 2 | 1 | 4 | 2 To 3 Miles | 3 | 2 | 1 | 3 | 2 | 1
5 | 3 To 5 Miles |  | 2 | 1 |  | 1 | 1 | 5 | 3 To 5 Miles | 0 | 0 | 0 | 2 | 1 | 1
6 | Greater Than 5 Miles |  | 0 | 0 |  | 1 | 1 | 6 | Greater Than 5 Miles | 0 | 0 | 0 | 1 | 1 | 1
| Visual Approach Slope Indicators (VASI) | [7 empty] | Taxiways, Taxiway Centerline Lights
| Range | Day |  |  | Night |  |  |  | Range | Day |  |  | Night
|  |  | 3 | 2 |  | 3 | 2 |  |  | 5 | 3 | 1 | 5 | 3 | 1
1 | Less Than 1200 Feet |  | 3 | 2 |  | 1 | 1 | 1 | Less Than 1200 Feet | 5 | 3 | 1 | 4 | 2 | 1
2 | Less Than 1 Mile |  | 3 | 2 |  | 1 | 1 | 2 | Less Than 1 Mile | 5 | 3 | 1 | 4 | 2 | 1
3 | 1 To 2 Miles |  | 3 | 2 |  | 1 | 1 | 3 | 1 To 2 Miles | 0 | 0 | 0 | 3 | 1 | 1
4 | 2 To 3 Miles |  | 3 | 2 |  | 1 | 1 | 4 | 2 To 3 Miles | 0 | 0 | 0 | 3 | 1 | 1
5 | 3 To 5 Miles |  | 3 | 2 |  | 1 | 1 | 5 | 3 To 5 Miles | 0 | 0 | 0 | 3 | 1 | 1
6 | Greater Than 5 Miles |  | 3 | 2 |  | 1 | 1 | 6 | Greater Than 5 Miles | 0 | 0 | 0 | 3 | 1 | 1
| Precision Approach Path Indicators (PAPI) | [7 empty] | Beacon
| Range | Day |  |  | Night |  |  |  | Range | Day |  |  | Night
|  | 5 | 3 | 1 | 5 | 3 | 1 |  |  |  |  | 1 |  |  | 1
1 | Less Than 1200 Feet | 4 | 2 | 1 | 3 | 1 | 1 | 1 | Less Than 1200 Feet |  |  | 1 |  |  | 1
2 | Less Than 1 Mile | 4 | 2 | 1 | 3 | 1 | 1 | 2 | Less Than 1 Mile |  |  | 1 |  |  | 1
3 | 1 To 2 Miles | 4 | 2 | 1 | 3 | 1 | 1 | 3 | 1 To 2 Miles |  |  | 1 |  |  | 1
4 | 2 To 3 Miles | 4 | 2 | 1 | 3 | 1 | 1 | 4 | 2 To 3 Miles |  |  | 1 |  |  | 1
5 | 3 To 5 Miles | 4 | 2 | 1 | 3 | 1 | 1 | 5 | 3 To 5 Miles |  |  | 0 |  |  | 1
6 | Greater Than 5 Miles | 4 | 2 | 1 | 3 | 1 | 1 | 6 | Greater Than 5 Miles |  |  | 0 |  |  | 1
| Approach Lights (ALS) | [7 empty] | Medium Intensity Or Omnidirectional (MALSR/ODALS)
| Range | Day |  |  | Night |  |  |  | Range | Day |  |  | Night
|  | 5 |  | 1 | 5 |  | 1 |  |  |  | 3 | 1 |  | 3 | 1
1 | Less Than 1200 Feet | 5 |  | 1 | 3 |  | 1 | 1 | Less Than 1200 Feet |  | 3 | 1 |  | 3 | 1
2 | Less Than 1 Mile | 5 |  | 1 | 3 |  | 1 | 2 | Less Than 1 Mile |  | 3 | 1 |  | 2 | 1
3 | 1 To 2 Miles | 4 |  | 1 | 2 |  | 1 | 3 | 1 To 2 Miles |  | 3 | 1 |  | 2 | 1
4 | 2 To 3 Miles | 4 |  | 1 | 2 |  | 1 | 4 | 2 To 3 Miles |  | 2 | 1 |  | 2 | 1
5 | 3 To 5 Miles | 3 |  | 1 | 1 |  | 1 | 5 | 3 To 5 Miles |  | 2 | 1 |  | 1 | 1
6 | Greater Than 5 Miles | 2 |  | 1 | 1 |  | 1 | 6 | Greater Than 5 Miles |  | 0 | 0 |  | 1 | 1
| Runway Guard Lights (RGL) | [7 empty] | Signs
| Range | Day |  |  | Night |  |  |  | Range | Day |  |  | Night
|  | 5 | 3 | 1 | 5 | 3 | 1 |  |  |  | 3 |  |  | 3
| Less Than 1200 Feet | 5 | 3 | 1 | 4 | 2 | 1 | 1 | Less Than 1200 Feet |  | 2 |  |  | 2
| Less Than 1 Mile | 5 | 3 | 1 | 4 | 2 | 1 | 2 | Less Than 1 Mile |  | 2 |  |  | 2
| 1 To 2 Miles | 4 | 3 | 1 | 3 | 2 | 1 | 3 | 1 To 2 Miles |  | 2 |  |  | 2
| 2 To 3 Miles | 4 | 3 | 1 | 3 | 2 | 1 | 4 | 2 To 3 Miles |  | 2 |  |  | 2
| 3 To 5 Miles | 4 | 3 | 1 | 3 | 2 | 1 | 5 | 3 To 5 Miles |  | 2 |  |  | 2
| Greater Than 5 Miles | 4 | 3 | 1 | 3 | 2 | 1 | 6 | Greater Than 5 Miles |  | 0 |  |  | 2

## DESIGNER SCRIPT CREATION
ENTER PROJECT NUMBER >>~~~~~~~~~~~~~>
|  | Writing: |  |  | Writing:
YOU NEED TO CLICK EACH BUTTON INDEPENDENTLY FILE(S) WILL BE SAVED ON THE LIBRARY SHARE IN THE 2 - New Systems - FOR CREATION AND REF ONLY DIRECTORY IF YOU DON’T HAVE ACCESS OR DON’T KNOW WHERE THIS IS… YOU SHOULDN’T CLICK THE BUTTONS.
| THE FILE NAME WILL BE: |  |  | THE FILE NAME WILL BE:
3 - CCR INDEX - |  |  | 4 - MISC CTRL -
IF A FILE WITH THE SAME NAME EXISTS ... IT WILL BE OVERWRITTEN WITHOUT WARNING

## DESIGNER CCR INDEX (hidden)
|  | SCRIPT TO COPY | 6
|  | -ATTREQ |  |  | CMD | BLOCK | X | Y | X,Y,R | CCR# | ACE# | ACE CONFIG | IP0 | IP1 | CIRCUIT DESCRIPTION | STEPS | SIZE | CONTROL VOLTAGE | OUTPUT CURRENT | OUTPUT MONITORING | INPUT VOLTAGE | INPUT MONITORING
1
-ATTDIA
|  | 0 |  |  | CCR Index MAP: |  |  |  |  | A | B | C | D | E | F | G | H | I | J | M | U | L
G | 7 | -insert CCR_INDEX | 1 | 1 | -insert | CCR_INDEX | 73 | 80 | 1 1 0
H |  | 73,80 1 1 0 |  | 2 | -insert | CCR_INDEX | 73 | 79.7 | 1 1 0
I |  |  |  | 3 | -insert | CCR_INDEX | 73 | 79.4 | 1 1 0
J |  |  |  | 4 | -insert | CCR_INDEX | 73 | 79.1 | 1 1 0
K |  |  |  | 5 | -insert | CCR_INDEX | 73 | 78.8 | 1 1 0
L |  |  |  | 6 | -insert | CCR_INDEX | 73 | 78.5 | 1 1 0
M | S |  |  | 7 | -insert | CCR_INDEX | 73 | 78.2 | 1 1 0
N | T |  |  | 8 | -insert | CCR_INDEX | 73 | 77.9 | 1 1 0
O | U |  |  | 9 | -insert | CCR_INDEX | 73 | 77.6 | 1 1 0
P | V |  |  | 10 | -insert | CCR_INDEX | 73 | 77.3 | 1 1 0
Q | W |  |  | 11 | -insert | CCR_INDEX | 73 | 77 | 1 1 0
R | X |  |  | 12 | -insert | CCR_INDEX | 73 | 76.7 | 1 1 0
|  |  |  | 13 | -insert | CCR_INDEX | 73 | 76.4 | 1 1 0
|  |  |  | 14 | -insert | CCR_INDEX | 73 | 76.1 | 1 1 0
| 8 | -insert CCR_INDEX | 2 | 15 | -insert | CCR_INDEX | 73 | 75.8 | 1 1 0
|  | 73,79.7 1 1 0 |  | 16 | -insert | CCR_INDEX | 73 | 75.5 | 1 1 0
|  |  |  | 17 | -insert | CCR_INDEX | 73 | 75.2 | 1 1 0
|  |  |  | 18 | -insert | CCR_INDEX | 73 | 74.9 | 1 1 0
|  |  |  | 19 | -insert | CCR_INDEX | 73 | 74.6 | 1 1 0
|  |  |  | 20 | -insert | CCR_INDEX | 73 | 74.3 | 1 1 0
|  |  |  | 21 | -insert | CCR_INDEX | 73 | 74.0 | 1 1 0
|  |  |  | 22 | -insert | CCR_INDEX | 73 | 73.7 | 1 1 0
|  |  |  | 23 | -insert | CCR_INDEX | 73 | 73.4 | 1 1 0
|  |  |  | 24 | -insert | CCR_INDEX | 73 | 73.1 | 1 1 0
|  |  |  | 25 | -insert | CCR_INDEX | 73 | 72.8 | 1 1 0
|  |  |  | 26 | -insert | CCR_INDEX | 73 | 72.5 | 1 1 0
|  |  |  | 27 | -insert | CCR_INDEX | 73 | 72.2 | 1 1 0
|  |  |  | 28 | -insert | CCR_INDEX | 73 | 71.9 | 1 1 0
| 9 | -insert CCR_INDEX | 3 | 29 | -insert | CCR_INDEX | 73 | 71.6 | 1 1 0
|  | 73,79.4 1 1 0 |  | 30 | -insert | CCR_INDEX | 73 | 71.3 | 1 1 0
|  |  |  | 31 | -insert | CCR_INDEX | 73 | 71.0 | 1 1 0
|  |  |  | 32 | -insert | CCR_INDEX | 73 | 70.7 | 1 1 0
|  |  |  | 33 | -insert | CCR_INDEX | 73 | 70.4 | 1 1 0
|  |  |  | 34 | -insert | CCR_INDEX | 73 | 70.1 | 1 1 0
|  |  |  | 35 | -insert | CCR_INDEX | 73 | 69.8 | 1 1 0
|  |  |  | 36 | -insert | CCR_INDEX | 73 | 69.5 | 1 1 0
|  |  |  | 37 | -insert | CCR_INDEX | 73 | 69.2 | 1 1 0
|  |  |  | 38 | -insert | CCR_INDEX | 73 | 68.9 | 1 1 0
|  |  |  | 39 | -insert | CCR_INDEX | 73 | 68.6 | 1 1 0
|  |  |  | 40 | -insert | CCR_INDEX | 73 | 68.3 | 1 1 0
|  |  |  | 41 | -insert | CCR_INDEX | 73 | 68.0 | 1 1 0
|  |  |  | 42 | -insert | CCR_INDEX | 73 | 67.7 | 1 1 0
| 10 | -insert CCR_INDEX | 4 | 43 | -insert | CCR_INDEX | 73 | 67.4 | 1 1 0
|  | 73,79.1 1 1 0 |  | 44 | -insert | CCR_INDEX | 73 | 67.1 | 1 1 0
|  |  |  | 45 | -insert | CCR_INDEX | 73 | 66.8 | 1 1 0
|  |  |  | 46 | -insert | CCR_INDEX | 73 | 66.5 | 1 1 0
|  |  |  | 47 | -insert | CCR_INDEX | 73 | 66.2 | 1 1 0
|  |  |  | 48 | -insert | CCR_INDEX | 73 | 65.9 | 1 1 0
|  |  |  | 49 | -insert | CCR_INDEX | 73 | 65.6 | 1 1 0
|  |  |  | 50 | -insert | CCR_INDEX | 73 | 65.3 | 1 1 0
|  |  |  | 51 | -insert | CCR_INDEX | 73 | 65.0 | 1 1 0
|  |  |  | 52 | -insert | CCR_INDEX | 73 | 64.7 | 1 1 0
|  |  |  | 53 | -insert | CCR_INDEX | 73 | 64.4 | 1 1 0
|  |  |  | 54 | -insert | CCR_INDEX | 73 | 64.1 | 1 1 0
|  |  |  | 55 | -insert | CCR_INDEX | 73 | 63.8 | 1 1 0
|  |  |  | 56 | -insert | CCR_INDEX | 73 | 63.5 | 1 1 0
| 11 | -insert CCR_INDEX | 5 | 57 | -insert | CCR_INDEX | 73 | 63.2 | 1 1 0
|  | 73,78.8 1 1 0 |  | 58 | -insert | CCR_INDEX | 73 | 62.9 | 1 1 0
|  |  |  | 59 | -insert | CCR_INDEX | 73 | 62.6 | 1 1 0
|  |  |  | 60 | -insert | CCR_INDEX | 73 | 62.3 | 1 1 0
|  |  |  | 61 | -insert | CCR_INDEX | 73 | 62.0 | 1 1 0
|  |  |  | 62 | -insert | CCR_INDEX | 73 | 61.7 | 1 1 0
|  |  |  | 63 | -insert | CCR_INDEX | 73 | 61.4 | 1 1 0
|  |  |  | 64 | -insert | CCR_INDEX | 73 | 61.1 | 1 1 0
|  |  |  | 65 | -insert | CCR_INDEX | 73 | 60.8 | 1 1 0
|  |  |  | 66 | -insert | CCR_INDEX | 73 | 60.5 | 1 1 0
|  |  |  | 67 | -insert | CCR_INDEX | 73 | 60.2 | 1 1 0
|  |  |  | 68 | -insert | CCR_INDEX | 73 | 59.9 | 1 1 0
|  |  |  | 69 | -insert | CCR_INDEX | 73 | 59.6 | 1 1 0
|  |  |  | 70 | -insert | CCR_INDEX | 73 | 59.3 | 1 1 0
| 12 | -insert CCR_INDEX | 6 | 71 | -insert | CCR_INDEX | 73 | 59.0 | 1 1 0
|  | 73,78.5 1 1 0 |  | 72 | -insert | CCR_INDEX | 73 | 58.7 | 1 1 0
|  |  |  | 73 | -insert | CCR_INDEX | 73 | 58.4 | 1 1 0
|  |  |  | 74 | -insert | CCR_INDEX | 73 | 58.1 | 1 1 0
|  |  |  | 75 | -insert | CCR_INDEX | 73 | 57.8 | 1 1 0
|  |  |  | 76 | -insert | CCR_INDEX | 73 | 57.5 | 1 1 0
|  |  |  | 77 | -insert | CCR_INDEX | 73 | 57.2 | 1 1 0
|  |  |  | 78 | -insert | CCR_INDEX | 73 | 56.9 | 1 1 0
|  |  |  | 79 | -insert | CCR_INDEX | 73 | 56.6 | 1 1 0
|  |  |  | 80 | -insert | CCR_INDEX | 73 | 56.3 | 1 1 0
|  |  |  | 81 | -insert | CCR_INDEX | 73 | 56.0 | 1 1 0
|  |  |  | 82 | -insert | CCR_INDEX | 73 | 55.7 | 1 1 0
|  |  |  | 83 | -insert | CCR_INDEX | 73 | 55.4 | 1 1 0
|  |  |  | 84 | -insert | CCR_INDEX | 73 | 55.1 | 1 1 0
| 13 | -insert CCR_INDEX | 7 | 85 | -insert | CCR_INDEX | 73 | 54.8 | 1 1 0
|  | 73,78.2 1 1 0 |  | 86 | -insert | CCR_INDEX | 73 | 54.5 | 1 1 0
|  |  |  | 87 | -insert | CCR_INDEX | 73 | 54.2 | 1 1 0
|  |  |  | 88 | -insert | CCR_INDEX | 73 | 53.9 | 1 1 0
|  |  |  | 89 | -insert | CCR_INDEX | 73 | 53.6 | 1 1 0
|  |  |  | 90 | -insert | CCR_INDEX | 73 | 53.3 | 1 1 0
|  |  |  | 91 | -insert | CCR_INDEX | 73 | 53.0 | 1 1 0
|  |  |  | 92 | -insert | CCR_INDEX | 73 | 52.7 | 1 1 0
|  |  |  | 93 | -insert | CCR_INDEX | 73 | 52.4 | 1 1 0
|  |  |  | 94 | -insert | CCR_INDEX | 73 | 52.1 | 1 1 0
|  |  |  | 95 | -insert | CCR_INDEX | 73 | 51.8 | 1 1 0
|  |  |  | 96 | -insert | CCR_INDEX | 73 | 51.5 | 1 1 0
|  |  |  | 97 | -insert | CCR_INDEX | 73 | 51.2 | 1 1 0
|  |  |  | 98 | -insert | CCR_INDEX | 73 | 50.9 | 1 1 0
| 14 | -insert CCR_INDEX | 8 | 99 | -insert | CCR_INDEX | 73 | 50.6 | 1 1 0
|  | 73,77.9 1 1 0 |  | 100 | -insert | CCR_INDEX | 73 | 50.3 | 1 1 0
|  |  |  | 101 | -insert | CCR_INDEX | 73 | 50.0 | 1 1 0
|  |  |  | 102 | -insert | CCR_INDEX | 73 | 49.7 | 1 1 0
|  |  |  | 103 | -insert | CCR_INDEX | 73 | 49.4 | 1 1 0
|  |  |  | 104 | -insert | CCR_INDEX | 73 | 49.1 | 1 1 0
|  |  |  | 105 | -insert | CCR_INDEX | 73 | 48.8 | 1 1 0
|  |  |  | 106 | -insert | CCR_INDEX | 73 | 48.5 | 1 1 0
|  |  |  | 107 | -insert | CCR_INDEX | 73 | 48.2 | 1 1 0
|  |  |  | 108 | -insert | CCR_INDEX | 73 | 47.9 | 1 1 0
|  |  |  | 109 | -insert | CCR_INDEX | 73 | 47.6 | 1 1 0
|  |  |  | 110 | -insert | CCR_INDEX | 73 | 47.3 | 1 1 0
|  |  |  | 111 | -insert | CCR_INDEX | 73 | 47.0 | 1 1 0
|  |  |  | 112 | -insert | CCR_INDEX | 73 | 46.7 | 1 1 0
| 15 | -insert CCR_INDEX | 9 | 113 | -insert | CCR_INDEX | 73 | 46.4 | 1 1 0
|  | 73,77.6 1 1 0 |  | 114 | -insert | CCR_INDEX | 73 | 46.1 | 1 1 0
|  |  |  | 115 | -insert | CCR_INDEX | 73 | 45.8 | 1 1 0
|  |  |  | 116 | -insert | CCR_INDEX | 73 | 45.5 | 1 1 0
|  |  |  | 117 | -insert | CCR_INDEX | 73 | 45.2 | 1 1 0
|  |  |  | 118 | -insert | CCR_INDEX | 73 | 44.9 | 1 1 0
|  |  |  | 119 | -insert | CCR_INDEX | 73 | 44.6 | 1 1 0
|  |  |  | 120 | -insert | CCR_INDEX | 73 | 44.3 | 1 1 0
|  |  |  | 121 | -insert | CCR_INDEX | 73 | 44.0 | 1 1 0
|  |  |  | 122 | -insert | CCR_INDEX | 73 | 43.7 | 1 1 0
|  |  |  | 123 | -insert | CCR_INDEX | 73 | 43.4 | 1 1 0
|  |  |  | 124 | -insert | CCR_INDEX | 73 | 43.1 | 1 1 0
|  |  |  | 125 | -insert | CCR_INDEX | 73 | 42.8 | 1 1 0
|  |  |  | 126 | -insert | CCR_INDEX | 73 | 42.5 | 1 1 0
| 16 | -insert CCR_INDEX | 10 | 127 | -insert | CCR_INDEX | 73 | 42.2 | 1 1 0
|  | 73,77.3 1 1 0 |  | 128 | -insert | CCR_INDEX | 73 | 41.9 | 1 1 0
|  |  |  | 129 | -insert | CCR_INDEX | 73 | 41.6 | 1 1 0
|  |  |  | 130 | -insert | CCR_INDEX | 73 | 41.3 | 1 1 0
|  |  |  | 131 | -insert | CCR_INDEX | 73 | 41.0 | 1 1 0
|  |  |  | 132 | -insert | CCR_INDEX | 73 | 40.7 | 1 1 0
|  |  |  | 133 | -insert | CCR_INDEX | 73 | 40.4 | 1 1 0
|  |  |  | 134 | -insert | CCR_INDEX | 73 | 40.1 | 1 1 0
|  |  |  | 135 | -insert | CCR_INDEX | 73 | 39.8 | 1 1 0
|  |  |  | 136 | -insert | CCR_INDEX | 73 | 39.5 | 1 1 0
|  |  |  | 137 | -insert | CCR_INDEX | 73 | 39.2 | 1 1 0
|  |  |  | 138 | -insert | CCR_INDEX | 73 | 38.9 | 1 1 0
|  |  |  | 139 | -insert | CCR_INDEX | 73 | 38.6 | 1 1 0
|  |  |  | 140 | -insert | CCR_INDEX | 73 | 38.3 | 1 1 0
| 17 | -insert CCR_INDEX | 11 | 141 | -insert | CCR_INDEX | 73 | 38.0 | 1 1 0
|  | 73,77 1 1 0 |  | 142 | -insert | CCR_INDEX | 73 | 37.7 | 1 1 0
|  |  |  | 143 | -insert | CCR_INDEX | 73 | 37.4 | 1 1 0
|  |  |  | 144 | -insert | CCR_INDEX | 73 | 37.1 | 1 1 0
|  |  |  | 145 | -insert | CCR_INDEX | 73 | 36.8 | 1 1 0
|  |  |  | 146 | -insert | CCR_INDEX | 73 | 36.5 | 1 1 0
|  |  |  | 147 | -insert | CCR_INDEX | 73 | 36.2 | 1 1 0
|  |  |  | 148 | -insert | CCR_INDEX | 73 | 35.9 | 1 1 0
|  |  |  | 149 | -insert | CCR_INDEX | 73 | 35.6 | 1 1 0
|  |  |  | 150 | -insert | CCR_INDEX | 73 | 35.3 | 1 1 0
|  |  |  | 151 | -insert | CCR_INDEX | 73 | 35.0 | 1 1 0
|  |  |  | 152 | -insert | CCR_INDEX | 73 | 34.7 | 1 1 0
|  |  |  | 153 | -insert | CCR_INDEX | 73 | 34.4 | 1 1 0
|  |  |  | 154 | -insert | CCR_INDEX | 73 | 34.1 | 1 1 0
| 18 | -insert CCR_INDEX | 12 | 155 | -insert | CCR_INDEX | 73 | 33.8 | 1 1 0
|  | 73,76.7 1 1 0 |  | 156 | -insert | CCR_INDEX | 73 | 33.5 | 1 1 0
|  |  |  | 157 | -insert | CCR_INDEX | 73 | 33.2 | 1 1 0
|  |  |  | 158 | -insert | CCR_INDEX | 73 | 32.9 | 1 1 0
|  |  |  | 159 | -insert | CCR_INDEX | 73 | 32.6 | 1 1 0
|  |  |  | 160 | -insert | CCR_INDEX | 73 | 32.3 | 1 1 0
|  |  |  | 161 | -insert | CCR_INDEX | 73 | 32.0 | 1 1 0
|  |  |  | 162 | -insert | CCR_INDEX | 73 | 31.7 | 1 1 0
|  |  |  | 163 | -insert | CCR_INDEX | 73 | 31.4 | 1 1 0
|  |  |  | 164 | -insert | CCR_INDEX | 73 | 31.1 | 1 1 0
|  |  |  | 165 | -insert | CCR_INDEX | 73 | 30.8 | 1 1 0
|  |  |  | 166 | -insert | CCR_INDEX | 73 | 30.5 | 1 1 0
|  |  |  | 167 | -insert | CCR_INDEX | 73 | 30.2 | 1 1 0
|  |  |  | 168 | -insert | CCR_INDEX | 73 | 29.9 | 1 1 0
| 19 | -insert CCR_INDEX | 13 | 169 | -insert | CCR_INDEX | 73 | 29.6 | 1 1 0
|  | 73,76.4 1 1 0 |  | 170 | -insert | CCR_INDEX | 73 | 29.3 | 1 1 0
|  |  |  | 171 | -insert | CCR_INDEX | 73 | 29.0 | 1 1 0
|  |  |  | 172 | -insert | CCR_INDEX | 73 | 28.7 | 1 1 0
|  |  |  | 173 | -insert | CCR_INDEX | 73 | 28.4 | 1 1 0
|  |  |  | 174 | -insert | CCR_INDEX | 73 | 28.1 | 1 1 0
|  |  |  | 175 | -insert | CCR_INDEX | 73 | 27.8 | 1 1 0
|  |  |  | 176 | -insert | CCR_INDEX | 73 | 27.5 | 1 1 0
|  |  |  | 177 | -insert | CCR_INDEX | 73 | 27.2 | 1 1 0
|  |  |  | 178 | -insert | CCR_INDEX | 73 | 26.9 | 1 1 0
|  |  |  | 179 | -insert | CCR_INDEX | 73 | 26.6 | 1 1 0
|  |  |  | 180 | -insert | CCR_INDEX | 73 | 26.3 | 1 1 0
|  |  |  | 181 | -insert | CCR_INDEX | 73 | 26.0 | 1 1 0
|  |  |  | 182 | -insert | CCR_INDEX | 73 | 25.7 | 1 1 0
| 20 | -insert CCR_INDEX | 14 | 183 | -insert | CCR_INDEX | 73 | 25.4 | 1 1 0
|  | 73,76.1 1 1 0 |  | 184 | -insert | CCR_INDEX | 73 | 25.1 | 1 1 0
|  |  |  | 185 | -insert | CCR_INDEX | 73 | 24.8 | 1 1 0
|  |  |  | 186 | -insert | CCR_INDEX | 73 | 24.5 | 1 1 0
|  |  |  | 187 | -insert | CCR_INDEX | 73 | 24.2 | 1 1 0
|  |  |  | 188 | -insert | CCR_INDEX | 73 | 23.9 | 1 1 0
|  |  |  | 189 | -insert | CCR_INDEX | 73 | 23.6 | 1 1 0
|  |  |  | 190 | -insert | CCR_INDEX | 73 | 23.3 | 1 1 0
|  |  |  | 191 | -insert | CCR_INDEX | 73 | 23.0 | 1 1 0
|  |  |  | 192 | -insert | CCR_INDEX | 73 | 22.7 | 1 1 0
|  |  |  | 193 | -insert | CCR_INDEX | 73 | 22.4 | 1 1 0
|  |  |  | 194 | -insert | CCR_INDEX | 73 | 22.1 | 1 1 0
|  |  |  | 195 | -insert | CCR_INDEX | 73 | 21.8 | 1 1 0
|  |  |  | 196 | -insert | CCR_INDEX | 73 | 21.5 | 1 1 0
| 21 | -insert CCR_INDEX | 15 | 197 | -insert | CCR_INDEX | 73 | 21.2 | 1 1 0
|  | 73,75.8 1 1 0 |  | 198 | -insert | CCR_INDEX | 73 | 20.9 | 1 1 0
|  |  |  | 199 | -insert | CCR_INDEX | 73 | 20.6 | 1 1 0
|  |  |  | 200 | -insert | CCR_INDEX | 73 | 20.3 | 1 1 0
|  |  |  | 201 | -insert | CCR_INDEX | 73 | 20.0 | 1 1 0
|  |  |  | 202 | -insert | CCR_INDEX | 73 | 19.7 | 1 1 0
|  |  |  | 203 | -insert | CCR_INDEX | 73 | 19.4 | 1 1 0
|  |  |  | 204 | -insert | CCR_INDEX | 73 | 19.1 | 1 1 0
|  |  |  | 205 | -insert | CCR_INDEX | 73 | 18.8 | 1 1 0
|  |  |  | 206 | -insert | CCR_INDEX | 73 | 18.5 | 1 1 0
|  |  |  | 207 | -insert | CCR_INDEX | 73 | 18.2 | 1 1 0
|  |  |  | 208 | -insert | CCR_INDEX | 73 | 17.9 | 1 1 0
|  |  |  | 209 | -insert | CCR_INDEX | 73 | 17.6 | 1 1 0
|  |  |  | 210 | -insert | CCR_INDEX | 73 | 17.3 | 1 1 0
| 22 | -insert CCR_INDEX | 16 | 211 | -insert | CCR_INDEX | 73 | 17.0 | 1 1 0
|  | 73,75.5 1 1 0 |  | 212 | -insert | CCR_INDEX | 73 | 16.7 | 1 1 0
|  |  |  | 213 | -insert | CCR_INDEX | 73 | 16.4 | 1 1 0
|  |  |  | 214 | -insert | CCR_INDEX | 73 | 16.1 | 1 1 0
|  |  |  | 215 | -insert | CCR_INDEX | 73 | 15.8 | 1 1 0
|  |  |  | 216 | -insert | CCR_INDEX | 73 | 15.5 | 1 1 0
|  |  |  | 217 | -insert | CCR_INDEX | 73 | 15.2 | 1 1 0
|  |  |  | 218 | -insert | CCR_INDEX | 73 | 14.9 | 1 1 0
|  |  |  | 219 | -insert | CCR_INDEX | 73 | 14.6 | 1 1 0
|  |  |  | 220 | -insert | CCR_INDEX | 73 | 14.3 | 1 1 0
|  |  |  | 221 | -insert | CCR_INDEX | 73 | 14.0 | 1 1 0
|  |  |  | 222 | -insert | CCR_INDEX | 73 | 13.7 | 1 1 0
|  |  |  | 223 | -insert | CCR_INDEX | 73 | 13.4 | 1 1 0
|  |  |  | 224 | -insert | CCR_INDEX | 73 | 13.1 | 1 1 0
| 23 | -insert CCR_INDEX | 17 | 225 | -insert | CCR_INDEX | 73 | 12.8 | 1 1 0
|  | 73,75.2 1 1 0 |  | 226 | -insert | CCR_INDEX | 73 | 12.5 | 1 1 0
|  |  |  | 227 | -insert | CCR_INDEX | 73 | 12.2 | 1 1 0
|  |  |  | 228 | -insert | CCR_INDEX | 73 | 11.9 | 1 1 0
|  |  |  | 229 | -insert | CCR_INDEX | 73 | 11.6 | 1 1 0
|  |  |  | 230 | -insert | CCR_INDEX | 73 | 11.3 | 1 1 0
|  |  |  | 231 | -insert | CCR_INDEX | 73 | 11.0 | 1 1 0
|  |  |  | 232 | -insert | CCR_INDEX | 73 | 10.7 | 1 1 0
|  |  |  | 233 | -insert | CCR_INDEX | 73 | 10.4 | 1 1 0
|  |  |  | 234 | -insert | CCR_INDEX | 73 | 10.1 | 1 1 0
|  |  |  | 235 | -insert | CCR_INDEX | 73 | 9.80 | 1 1 0
|  |  |  | 236 | -insert | CCR_INDEX | 73 | 9.50 | 1 1 0
|  |  |  | 237 | -insert | CCR_INDEX | 73 | 9.20 | 1 1 0
|  |  |  | 238 | -insert | CCR_INDEX | 73 | 8.90 | 1 1 0
| 24 | -insert CCR_INDEX | 18 | 239 | -insert | CCR_INDEX | 73 | 8.60 | 1 1 0
|  | 73,74.9 1 1 0 |  | 240 | -insert | CCR_INDEX | 73 | 8.30 | 1 1 0
|  |  |  | 241 | -insert | CCR_INDEX | 73 | 8.00 | 1 1 0
|  |  |  | 242 | -insert | CCR_INDEX | 73 | 7.70 | 1 1 0
|  |  |  | 243 | -insert | CCR_INDEX | 73 | 7.40 | 1 1 0
|  |  |  | 244 | -insert | CCR_INDEX | 73 | 7.10 | 1 1 0
|  |  |  | 245 | -insert | CCR_INDEX | 73 | 6.80 | 1 1 0
|  |  |  | 246 | -insert | CCR_INDEX | 73 | 6.50 | 1 1 0
|  |  |  | 247 | -insert | CCR_INDEX | 73 | 6.20 | 1 1 0
|  |  |  | 248 | -insert | CCR_INDEX | 73 | 5.90 | 1 1 0
|  |  |  | 249 | -insert | CCR_INDEX | 73 | 5.60 | 1 1 0
|  |  |  | 250 | -insert | CCR_INDEX | 73 | 5.30 | 1 1 0
|  |  |  | 251 | -insert | CCR_INDEX | 73 | 5.00 | 1 1 0
|  |  |  | 252 | -insert | CCR_INDEX | 73 | 4.70 | 1 1 0
| 25 | -insert CCR_INDEX | 19 | 253 | -insert | CCR_INDEX | 73 | 4.40 | 1 1 0
|  | 73,74.6 1 1 0 |  | 254 | -insert | CCR_INDEX | 73 | 4.10 | 1 1 0
|  |  |  | 255 | -insert | CCR_INDEX | 73 | 3.80 | 1 1 0
|  |  |  | 256 | -insert | CCR_INDEX | 73 | 3.50 | 1 1 0
|  |  |  | 257 | -insert | CCR_INDEX | 73 | 3.20 | 1 1 0
|  |  |  | 258 | -insert | CCR_INDEX | 73 | 2.90 | 1 1 0
|  |  |  | 259 | -insert | CCR_INDEX | 73 | 2.60 | 1 1 0
|  |  |  | 260 | -insert | CCR_INDEX | 73 | 2.30 | 1 1 0
|  |  |  | 261 | -insert | CCR_INDEX | 73 | 2.00 | 1 1 0
|  |  |  | 262 | -insert | CCR_INDEX | 73 | 1.70 | 1 1 0
|  |  |  | 263 | -insert | CCR_INDEX | 73 | 1.40 | 1 1 0
|  |  |  | 264 | -insert | CCR_INDEX | 73 | 1.10 | 1 1 0
|  |  |  | 265 | -insert | CCR_INDEX | 73 | 0.80 | 1 1 0
|  |  |  | 266 | -insert | CCR_INDEX | 73 | 0.50 | 1 1 0
| 26 | -insert CCR_INDEX | 20 | 267 | -insert | CCR_INDEX | 73 | 0.20 | 1 1 0
|  | 73,74.3 1 1 0 |  | 268 | -insert | CCR_INDEX | 73 | -0.1 | 1 1 0
|  |  |  | 269 | -insert | CCR_INDEX | 73 | -0.4 | 1 1 0
|  |  |  | 270 | -insert | CCR_INDEX | 73 | -0.7 | 1 1 0
|  |  |  | 271 | -insert | CCR_INDEX | 73 | -1 | 1 1 0
|  |  |  | 272 | -insert | CCR_INDEX | 73 | -1.3 | 1 1 0
|  |  |  | 273 | -insert | CCR_INDEX | 73 | -1.6 | 1 1 0
|  |  |  | 274 | -insert | CCR_INDEX | 73 | -1.9 | 1 1 0
|  |  |  | 275 | -insert | CCR_INDEX | 73 | -2.2 | 1 1 0
|  |  |  | 276 | -insert | CCR_INDEX | 73 | -2.5 | 1 1 0
|  |  |  | 277 | -insert | CCR_INDEX | 73 | -2.8 | 1 1 0
|  |  |  | 278 | -insert | CCR_INDEX | 73 | -3.1 | 1 1 0
|  |  |  | 279 | -insert | CCR_INDEX | 73 | -3.4 | 1 1 0
|  |  |  | 280 | -insert | CCR_INDEX | 73 | -3.7 | 1 1 0
| 27 | -insert CCR_INDEX | 21 | 281 | -insert | CCR_INDEX | 73 | -4 | 1 1 0
|  | 73,74.0 1 1 0 |  | 282 | -insert | CCR_INDEX | 73 | -4.3 | 1 1 0
|  |  |  | 283 | -insert | CCR_INDEX | 73 | -4.6 | 1 1 0
|  |  |  | 284 | -insert | CCR_INDEX | 73 | -4.9 | 1 1 0
|  |  |  | 285 | -insert | CCR_INDEX | 73 | -5.2 | 1 1 0
|  |  |  | 286 | -insert | CCR_INDEX | 73 | -5.5 | 1 1 0
|  |  |  | 287 | -insert | CCR_INDEX | 73 | -5.8 | 1 1 0
|  |  |  | 288 | -insert | CCR_INDEX | 73 | -6.1 | 1 1 0
|  |  |  | 289 | -insert | CCR_INDEX | 73 | -6.4 | 1 1 0
|  |  |  | 290 | -insert | CCR_INDEX | 73 | -6.7 | 1 1 0
|  |  |  | 291 | -insert | CCR_INDEX | 73 | -7 | 1 1 0
|  |  |  | 292 | -insert | CCR_INDEX | 73 | -7.3 | 1 1 0
|  |  |  | 293 | -insert | CCR_INDEX | 73 | -7.6 | 1 1 0
|  |  |  | 294 | -insert | CCR_INDEX | 73 | -7.9 | 1 1 0
| 28 | -insert CCR_INDEX | 22 | 295 | -insert | CCR_INDEX | 73 | -8.2 | 1 1 0
|  | 73,73.7 1 1 0 |  | 296 | -insert | CCR_INDEX | 73 | -8.5 | 1 1 0
|  |  |  | 297 | -insert | CCR_INDEX | 73 | -8.8 | 1 1 0
|  |  |  | 298 | -insert | CCR_INDEX | 73 | -9.1 | 1 1 0
|  |  |  | 299 | -insert | CCR_INDEX | 73 | -9.4 | 1 1 0
|  |  |  | 300 | -insert | CCR_INDEX | 73 | -9.7 | 1 1 0
| 29 | -insert CCR_INDEX | 23
73,73.4 1 1 0
| 30 | -insert CCR_INDEX | 24
73,73.1 1 1 0
| 31 | -insert CCR_INDEX | 25
73,72.8 1 1 0
| 32 | -insert CCR_INDEX | 26
73,72.5 1 1 0
| 33 | -insert CCR_INDEX | 27
73,72.2 1 1 0
| 34 | -insert CCR_INDEX | 28
73,71.9 1 1 0
| 35 | -insert CCR_INDEX | 29
73,71.6 1 1 0
| 36 | -insert CCR_INDEX | 30
73,71.3 1 1 0
| 37 | -insert CCR_INDEX | 31
73,71.0 1 1 0
| 38 | -insert CCR_INDEX | 32
73,70.7 1 1 0
| 39 | -insert CCR_INDEX | 33
73,70.4 1 1 0
| 40 | -insert CCR_INDEX | 34
73,70.1 1 1 0
| 41 | -insert CCR_INDEX | 35
73,69.8 1 1 0
| 42 | -insert CCR_INDEX | 36
73,69.5 1 1 0
| 43 | -insert CCR_INDEX | 37
73,69.2 1 1 0
| 44 | -insert CCR_INDEX | 38
73,68.9 1 1 0
| 45 | -insert CCR_INDEX | 39
73,68.6 1 1 0
| 46 | -insert CCR_INDEX | 40
73,68.3 1 1 0
| 47 | -insert CCR_INDEX | 41
73,68.0 1 1 0
| 48 | -insert CCR_INDEX | 42
73,67.7 1 1 0
| 49 | -insert CCR_INDEX | 43
73,67.4 1 1 0
| 50 | -insert CCR_INDEX | 44
73,67.1 1 1 0
| 51 | -insert CCR_INDEX | 45
73,66.8 1 1 0
| 52 | -insert CCR_INDEX | 46
73,66.5 1 1 0
| 53 | -insert CCR_INDEX | 47
73,66.2 1 1 0
| 54 | -insert CCR_INDEX | 48
73,65.9 1 1 0
| 55 | -insert CCR_INDEX | 49
73,65.6 1 1 0
| 56 | -insert CCR_INDEX | 50
73,65.3 1 1 0
| 57 | -insert CCR_INDEX | 51
73,65.0 1 1 0
| 58 | -insert CCR_INDEX | 52
73,64.7 1 1 0
| 59 | -insert CCR_INDEX | 53
73,64.4 1 1 0
| 60 | -insert CCR_INDEX | 54
73,64.1 1 1 0
| 61 | -insert CCR_INDEX | 55
73,63.8 1 1 0
| 62 | -insert CCR_INDEX | 56
73,63.5 1 1 0
| 63 | -insert CCR_INDEX | 57
73,63.2 1 1 0
| 64 | -insert CCR_INDEX | 58
73,62.9 1 1 0
| 65 | -insert CCR_INDEX | 59
73,62.6 1 1 0
| 66 | -insert CCR_INDEX | 60
73,62.3 1 1 0
| 67 | -insert CCR_INDEX | 61
73,62.0 1 1 0
| 68 | -insert CCR_INDEX | 62
73,61.7 1 1 0
| 69 | -insert CCR_INDEX | 63
73,61.4 1 1 0
| 70 | -insert CCR_INDEX | 64
73,61.1 1 1 0
| 71 | -insert CCR_INDEX | 65
73,60.8 1 1 0
| 72 | -insert CCR_INDEX | 66
73,60.5 1 1 0
| 73 | -insert CCR_INDEX | 67
73,60.2 1 1 0
| 74 | -insert CCR_INDEX | 68
73,59.9 1 1 0
| 75 | -insert CCR_INDEX | 69
73,59.6 1 1 0
| 76 | -insert CCR_INDEX | 70
73,59.3 1 1 0
| 77 | -insert CCR_INDEX | 71
73,59.0 1 1 0
| 78 | -insert CCR_INDEX | 72
73,58.7 1 1 0
| 79 | -insert CCR_INDEX | 73
73,58.4 1 1 0
| 80 | -insert CCR_INDEX | 74
73,58.1 1 1 0
| 81 | -insert CCR_INDEX | 75
73,57.8 1 1 0
| 82 | -insert CCR_INDEX | 76
73,57.5 1 1 0
| 83 | -insert CCR_INDEX | 77
73,57.2 1 1 0
| 84 | -insert CCR_INDEX | 78
73,56.9 1 1 0
| 85 | -insert CCR_INDEX | 79
73,56.6 1 1 0
| 86 | -insert CCR_INDEX | 80
73,56.3 1 1 0
| 87 | -insert CCR_INDEX | 81
73,56.0 1 1 0
| 88 | -insert CCR_INDEX | 82
73,55.7 1 1 0
| 89 | -insert CCR_INDEX | 83
73,55.4 1 1 0
| 90 | -insert CCR_INDEX | 84
73,55.1 1 1 0
| 91 | -insert CCR_INDEX | 85
73,54.8 1 1 0
| 92 | -insert CCR_INDEX | 86
73,54.5 1 1 0
| 93 | -insert CCR_INDEX | 87
73,54.2 1 1 0
| 94 | -insert CCR_INDEX | 88
73,53.9 1 1 0
| 95 | -insert CCR_INDEX | 89
73,53.6 1 1 0
| 96 | -insert CCR_INDEX | 90
73,53.3 1 1 0
| 97 | -insert CCR_INDEX | 91
73,53.0 1 1 0
| 98 | -insert CCR_INDEX | 92
73,52.7 1 1 0
| 99 | -insert CCR_INDEX | 93
73,52.4 1 1 0
| 100 | -insert CCR_INDEX | 94
73,52.1 1 1 0
| 101 | -insert CCR_INDEX | 95
73,51.8 1 1 0
| 102 | -insert CCR_INDEX | 96
73,51.5 1 1 0
| 103 | -insert CCR_INDEX | 97
73,51.2 1 1 0
| 104 | -insert CCR_INDEX | 98
73,50.9 1 1 0
| 105 | -insert CCR_INDEX | 99
73,50.6 1 1 0
| 106 | -insert CCR_INDEX | 100
73,50.3 1 1 0
| 107 | -insert CCR_INDEX | 101
73,50.0 1 1 0
| 108 | -insert CCR_INDEX | 102
73,49.7 1 1 0
| 109 | -insert CCR_INDEX | 103
73,49.4 1 1 0
| 110 | -insert CCR_INDEX | 104
73,49.1 1 1 0
| 111 | -insert CCR_INDEX | 105
73,48.8 1 1 0
| 112 | -insert CCR_INDEX | 106
73,48.5 1 1 0
| 113 | -insert CCR_INDEX | 107
73,48.2 1 1 0
| 114 | -insert CCR_INDEX | 108
73,47.9 1 1 0
| 115 | -insert CCR_INDEX | 109
73,47.6 1 1 0
| 116 | -insert CCR_INDEX | 110
73,47.3 1 1 0
| 117 | -insert CCR_INDEX | 111
73,47.0 1 1 0
| 118 | -insert CCR_INDEX | 112
73,46.7 1 1 0
| 119 | -insert CCR_INDEX | 113
73,46.4 1 1 0
| 120 | -insert CCR_INDEX | 114
73,46.1 1 1 0
| 121 | -insert CCR_INDEX | 115
73,45.8 1 1 0
| 122 | -insert CCR_INDEX | 116
73,45.5 1 1 0
| 123 | -insert CCR_INDEX | 117
73,45.2 1 1 0
| 124 | -insert CCR_INDEX | 118
73,44.9 1 1 0
| 125 | -insert CCR_INDEX | 119
73,44.6 1 1 0
| 126 | -insert CCR_INDEX | 120
73,44.3 1 1 0
| 127 | -insert CCR_INDEX | 121
73,44.0 1 1 0
| 128 | -insert CCR_INDEX | 122
73,43.7 1 1 0
| 129 | -insert CCR_INDEX | 123
73,43.4 1 1 0
| 130 | -insert CCR_INDEX | 124
73,43.1 1 1 0
| 131 | -insert CCR_INDEX | 125
73,42.8 1 1 0
| 132 | -insert CCR_INDEX | 126
73,42.5 1 1 0
| 133 | -insert CCR_INDEX | 127
73,42.2 1 1 0
| 134 | -insert CCR_INDEX | 128
73,41.9 1 1 0
| 135 | -insert CCR_INDEX | 129
73,41.6 1 1 0
| 136 | -insert CCR_INDEX | 130
73,41.3 1 1 0
| 137 | -insert CCR_INDEX | 131
73,41.0 1 1 0
| 138 | -insert CCR_INDEX | 132
73,40.7 1 1 0
| 139 | -insert CCR_INDEX | 133
73,40.4 1 1 0
| 140 | -insert CCR_INDEX | 134
73,40.1 1 1 0
| 141 | -insert CCR_INDEX | 135
73,39.8 1 1 0
| 142 | -insert CCR_INDEX | 136
73,39.5 1 1 0
| 143 | -insert CCR_INDEX | 137
73,39.2 1 1 0
| 144 | -insert CCR_INDEX | 138
73,38.9 1 1 0
| 145 | -insert CCR_INDEX | 139
73,38.6 1 1 0
| 146 | -insert CCR_INDEX | 140
73,38.3 1 1 0
| 147 | -insert CCR_INDEX | 141
73,38.0 1 1 0
| 148 | -insert CCR_INDEX | 142
73,37.7 1 1 0
| 149 | -insert CCR_INDEX | 143
73,37.4 1 1 0
| 150 | -insert CCR_INDEX | 144
73,37.1 1 1 0
| 151 | -insert CCR_INDEX | 145
73,36.8 1 1 0
| 152 | -insert CCR_INDEX | 146
73,36.5 1 1 0
| 153 | -insert CCR_INDEX | 147
73,36.2 1 1 0
| 154 | -insert CCR_INDEX | 148
73,35.9 1 1 0
| 155 | -insert CCR_INDEX | 149
73,35.6 1 1 0
| 156 | -insert CCR_INDEX | 150
73,35.3 1 1 0
| 157 | -insert CCR_INDEX | 151
73,35.0 1 1 0
| 158 | -insert CCR_INDEX | 152
73,34.7 1 1 0
| 159 | -insert CCR_INDEX | 153
73,34.4 1 1 0
| 160 | -insert CCR_INDEX | 154
73,34.1 1 1 0
| 161 | -insert CCR_INDEX | 155
73,33.8 1 1 0
| 162 | -insert CCR_INDEX | 156
73,33.5 1 1 0
| 163 | -insert CCR_INDEX | 157
73,33.2 1 1 0
| 164 | -insert CCR_INDEX | 158
73,32.9 1 1 0
| 165 | -insert CCR_INDEX | 159
73,32.6 1 1 0
| 166 | -insert CCR_INDEX | 160
73,32.3 1 1 0
| 167 | -insert CCR_INDEX | 161
73,32.0 1 1 0
| 168 | -insert CCR_INDEX | 162
73,31.7 1 1 0
| 169 | -insert CCR_INDEX | 163
73,31.4 1 1 0
| 170 | -insert CCR_INDEX | 164
73,31.1 1 1 0
| 171 | -insert CCR_INDEX | 165
73,30.8 1 1 0
| 172 | -insert CCR_INDEX | 166
73,30.5 1 1 0
| 173 | -insert CCR_INDEX | 167
73,30.2 1 1 0
| 174 | -insert CCR_INDEX | 168
73,29.9 1 1 0
| 175 | -insert CCR_INDEX | 169
73,29.6 1 1 0
| 176 | -insert CCR_INDEX | 170
73,29.3 1 1 0
| 177 | -insert CCR_INDEX | 171
73,29.0 1 1 0
| 178 | -insert CCR_INDEX | 172
73,28.7 1 1 0
| 179 | -insert CCR_INDEX | 173
73,28.4 1 1 0
| 180 | -insert CCR_INDEX | 174
73,28.1 1 1 0
| 181 | -insert CCR_INDEX | 175
73,27.8 1 1 0
| 182 | -insert CCR_INDEX | 176
73,27.5 1 1 0
| 183 | -insert CCR_INDEX | 177
73,27.2 1 1 0
| 184 | -insert CCR_INDEX | 178
73,26.9 1 1 0
| 185 | -insert CCR_INDEX | 179
73,26.6 1 1 0
| 186 | -insert CCR_INDEX | 180
73,26.3 1 1 0
| 187 | -insert CCR_INDEX | 181
73,26.0 1 1 0
| 188 | -insert CCR_INDEX | 182
73,25.7 1 1 0
| 189 | -insert CCR_INDEX | 183
73,25.4 1 1 0
| 190 | -insert CCR_INDEX | 184
73,25.1 1 1 0
| 191 | -insert CCR_INDEX | 185
73,24.8 1 1 0
| 192 | -insert CCR_INDEX | 186
73,24.5 1 1 0
| 193 | -insert CCR_INDEX | 187
73,24.2 1 1 0
| 194 | -insert CCR_INDEX | 188
73,23.9 1 1 0
| 195 | -insert CCR_INDEX | 189
73,23.6 1 1 0
| 196 | -insert CCR_INDEX | 190
73,23.3 1 1 0
| 197 | -insert CCR_INDEX | 191
73,23.0 1 1 0
| 198 | -insert CCR_INDEX | 192
73,22.7 1 1 0
| 199 | -insert CCR_INDEX | 193
73,22.4 1 1 0
| 200 | -insert CCR_INDEX | 194
73,22.1 1 1 0
| 201 | -insert CCR_INDEX | 195
73,21.8 1 1 0
| 202 | -insert CCR_INDEX | 196
73,21.5 1 1 0
| 203 | -insert CCR_INDEX | 197
73,21.2 1 1 0
| 204 | -insert CCR_INDEX | 198
73,20.9 1 1 0
| 205 | -insert CCR_INDEX | 199
73,20.6 1 1 0
| 206 | -insert CCR_INDEX | 200
73,20.3 1 1 0
| 207 | -insert CCR_INDEX | 201
73,20.0 1 1 0
| 208 | -insert CCR_INDEX | 202
73,19.7 1 1 0
| 209 | -insert CCR_INDEX | 203
73,19.4 1 1 0
| 210 | -insert CCR_INDEX | 204
73,19.1 1 1 0
| 211 | -insert CCR_INDEX | 205
73,18.8 1 1 0
| 212 | -insert CCR_INDEX | 206
73,18.5 1 1 0
| 213 | -insert CCR_INDEX | 207
73,18.2 1 1 0
| 214 | -insert CCR_INDEX | 208
73,17.9 1 1 0
| 215 | -insert CCR_INDEX | 209
73,17.6 1 1 0
| 216 | -insert CCR_INDEX | 210
73,17.3 1 1 0
| 217 | -insert CCR_INDEX | 211
73,17.0 1 1 0
| 218 | -insert CCR_INDEX | 212
73,16.7 1 1 0
| 219 | -insert CCR_INDEX | 213
73,16.4 1 1 0
| 220 | -insert CCR_INDEX | 214
73,16.1 1 1 0
| 221 | -insert CCR_INDEX | 215
73,15.8 1 1 0
| 222 | -insert CCR_INDEX | 216
73,15.5 1 1 0
| 223 | -insert CCR_INDEX | 217
73,15.2 1 1 0
| 224 | -insert CCR_INDEX | 218
73,14.9 1 1 0
| 225 | -insert CCR_INDEX | 219
73,14.6 1 1 0
| 226 | -insert CCR_INDEX | 220
73,14.3 1 1 0
| 227 | -insert CCR_INDEX | 221
73,14.0 1 1 0
| 228 | -insert CCR_INDEX | 222
73,13.7 1 1 0
| 229 | -insert CCR_INDEX | 223
73,13.4 1 1 0
| 230 | -insert CCR_INDEX | 224
73,13.1 1 1 0
| 231 | -insert CCR_INDEX | 225
73,12.8 1 1 0
| 232 | -insert CCR_INDEX | 226
73,12.5 1 1 0
| 233 | -insert CCR_INDEX | 227
73,12.2 1 1 0
| 234 | -insert CCR_INDEX | 228
73,11.9 1 1 0
| 235 | -insert CCR_INDEX | 229
73,11.6 1 1 0
| 236 | -insert CCR_INDEX | 230
73,11.3 1 1 0
| 237 | -insert CCR_INDEX | 231
73,11.0 1 1 0
| 238 | -insert CCR_INDEX | 232
73,10.7 1 1 0
| 239 | -insert CCR_INDEX | 233
73,10.4 1 1 0
| 240 | -insert CCR_INDEX | 234
73,10.1 1 1 0
| 241 | -insert CCR_INDEX | 235
73,9.80 1 1 0
| 242 | -insert CCR_INDEX | 236
73,9.50 1 1 0
| 243 | -insert CCR_INDEX | 237
73,9.20 1 1 0
| 244 | -insert CCR_INDEX | 238
73,8.90 1 1 0
| 245 | -insert CCR_INDEX | 239
73,8.60 1 1 0
| 246 | -insert CCR_INDEX | 240
73,8.30 1 1 0
| 247 | -insert CCR_INDEX | 241
73,8.00 1 1 0
| 248 | -insert CCR_INDEX | 242
73,7.70 1 1 0
| 249 | -insert CCR_INDEX | 243
73,7.40 1 1 0
| 250 | -insert CCR_INDEX | 244
73,7.10 1 1 0
| 251 | -insert CCR_INDEX | 245
73,6.80 1 1 0
| 252 | -insert CCR_INDEX | 246
73,6.50 1 1 0
| 253 | -insert CCR_INDEX | 247
73,6.20 1 1 0
| 254 | -insert CCR_INDEX | 248
73,5.90 1 1 0
| 255 | -insert CCR_INDEX | 249
73,5.60 1 1 0
| 256 | -insert CCR_INDEX | 250
73,5.30 1 1 0
| 257 | -insert CCR_INDEX | 251
73,5.00 1 1 0
| 258 | -insert CCR_INDEX | 252
73,4.70 1 1 0
| 259 | -insert CCR_INDEX | 253
73,4.40 1 1 0
| 260 | -insert CCR_INDEX | 254
73,4.10 1 1 0
| 261 | -insert CCR_INDEX | 255
73,3.80 1 1 0
| 262 | -insert CCR_INDEX | 256
73,3.50 1 1 0
| 263 | -insert CCR_INDEX | 257
73,3.20 1 1 0
| 264 | -insert CCR_INDEX | 258
73,2.90 1 1 0
| 265 | -insert CCR_INDEX | 259
73,2.60 1 1 0
| 266 | -insert CCR_INDEX | 260
73,2.30 1 1 0
| 267 | -insert CCR_INDEX | 261
73,2.00 1 1 0
| 268 | -insert CCR_INDEX | 262
73,1.70 1 1 0
| 269 | -insert CCR_INDEX | 263
73,1.40 1 1 0
| 270 | -insert CCR_INDEX | 264
73,1.10 1 1 0
| 271 | -insert CCR_INDEX | 265
73,0.80 1 1 0
| 272 | -insert CCR_INDEX | 266
73,0.50 1 1 0
| 273 | -insert CCR_INDEX | 267
73,0.20 1 1 0
| 274 | -insert CCR_INDEX | 268
73,-0.1 1 1 0
| 275 | -insert CCR_INDEX | 269
73,-0.4 1 1 0
| 276 | -insert CCR_INDEX | 270
73,-0.7 1 1 0
| 277 | -insert CCR_INDEX | 271
73,-1 1 1 0
| 278 | -insert CCR_INDEX | 272
73,-1.3 1 1 0
| 279 | -insert CCR_INDEX | 273
73,-1.6 1 1 0
| 280 | -insert CCR_INDEX | 274
73,-1.9 1 1 0
| 281 | -insert CCR_INDEX | 275
73,-2.2 1 1 0
| 282 | -insert CCR_INDEX | 276
73,-2.5 1 1 0
| 283 | -insert CCR_INDEX | 277
73,-2.8 1 1 0
| 284 | -insert CCR_INDEX | 278
73,-3.1 1 1 0
| 285 | -insert CCR_INDEX | 279
73,-3.4 1 1 0
| 286 | -insert CCR_INDEX | 280
73,-3.7 1 1 0
| 287 | -insert CCR_INDEX | 281
73,-4 1 1 0
| 288 | -insert CCR_INDEX | 282
73,-4.3 1 1 0
| 289 | -insert CCR_INDEX | 283
73,-4.6 1 1 0
| 290 | -insert CCR_INDEX | 284
73,-4.9 1 1 0
| 291 | -insert CCR_INDEX | 285
73,-5.2 1 1 0
| 292 | -insert CCR_INDEX | 286
73,-5.5 1 1 0
| 293 | -insert CCR_INDEX | 287
73,-5.8 1 1 0
| 294 | -insert CCR_INDEX | 288
73,-6.1 1 1 0
| 295 | -insert CCR_INDEX | 289
73,-6.4 1 1 0
| 296 | -insert CCR_INDEX | 290
73,-6.7 1 1 0
| 297 | -insert CCR_INDEX | 291
73,-7 1 1 0
| 298 | -insert CCR_INDEX | 292
73,-7.3 1 1 0
| 299 | -insert CCR_INDEX | 293
73,-7.6 1 1 0
| 300 | -insert CCR_INDEX | 294
73,-7.9 1 1 0
| 301 | -insert CCR_INDEX | 295
73,-8.2 1 1 0
| 302 | -insert CCR_INDEX | 296
73,-8.5 1 1 0
| 303 | -insert CCR_INDEX | 297
73,-8.8 1 1 0
| 304 | -insert CCR_INDEX | 298
73,-9.1 1 1 0
| 305 | -insert CCR_INDEX | 299
73,-9.4 1 1 0
| 306 | -insert CCR_INDEX | 300
73,-9.7 1 1 0

## DESIGNER MISC IO (hidden)
|  | SCRIPT TO COPY | 6
|  | -ATTREQ |  |  | CMD | BLOCK | X | Y | X,Y,R | ACE# | ACE CONFIG | IP0 | IP1 | CONTROL POINT DESCR | SLOT | I/O CHANNEL | I/O TYPE | I/O DESCRIPTION & RATING | COMMENTS & NOTES
1
-ATTDIA
|  | 0 |  |  | MISC Index MAP: |  |  |  |  | A | B | C | D | G | E | F | H | I | J
G | 7 | -insert MISC_CTRL | 1 | 1 | -insert | MISC_CTRL | 91 | 80 | 1 1 0
H |  | 91,80 1 1 0 |  | 2 | -insert | MISC_CTRL | 91 | 79.7 | 1 1 0
I |  |  |  | 3 | -insert | MISC_CTRL | 91 | 79.4 | 1 1 0
J |  |  |  | 4 | -insert | MISC_CTRL | 91 | 79.1 | 1 1 0
K |  |  |  | 5 | -insert | MISC_CTRL | 91 | 78.8 | 1 1 0
L | Q |  |  | 6 | -insert | MISC_CTRL | 91 | 78.5 | 1 1 0
M | R |  |  | 7 | -insert | MISC_CTRL | 91 | 78.2 | 1 1 0
N | S |  |  | 8 | -insert | MISC_CTRL | 91 | 77.9 | 1 1 0
O | T |  |  | 9 | -insert | MISC_CTRL | 91 | 77.6 | 1 1 0
P | U |  |  | 10 | -insert | MISC_CTRL | 91 | 77.3 | 1 1 0
|  |  |  | 11 | -insert | MISC_CTRL | 91 | 77 | 1 1 0
| 8 | -insert MISC_CTRL | 2 | 12 | -insert | MISC_CTRL | 91 | 76.7 | 1 1 0
|  | 91,79.7 1 1 0 |  | 13 | -insert | MISC_CTRL | 91 | 76.4 | 1 1 0
|  |  |  | 14 | -insert | MISC_CTRL | 91 | 76.1 | 1 1 0
|  |  |  | 15 | -insert | MISC_CTRL | 91 | 75.8 | 1 1 0
|  |  |  | 16 | -insert | MISC_CTRL | 91 | 75.5 | 1 1 0
|  |  |  | 17 | -insert | MISC_CTRL | 91 | 75.2 | 1 1 0
|  |  |  | 18 | -insert | MISC_CTRL | 91 | 74.9 | 1 1 0
|  |  |  | 19 | -insert | MISC_CTRL | 91 | 74.6 | 1 1 0
|  |  |  | 20 | -insert | MISC_CTRL | 91 | 74.3 | 1 1 0
|  |  |  | 21 | -insert | MISC_CTRL | 91 | 74.0 | 1 1 0
|  |  |  | 22 | -insert | MISC_CTRL | 91 | 73.7 | 1 1 0
| 9 | -insert MISC_CTRL | 3 | 23 | -insert | MISC_CTRL | 91 | 73.4 | 1 1 0
|  | 91,79.4 1 1 0 |  | 24 | -insert | MISC_CTRL | 91 | 73.1 | 1 1 0
|  |  |  | 25 | -insert | MISC_CTRL | 91 | 72.8 | 1 1 0
|  |  |  | 26 | -insert | MISC_CTRL | 91 | 72.5 | 1 1 0
|  |  |  | 27 | -insert | MISC_CTRL | 91 | 72.2 | 1 1 0
|  |  |  | 28 | -insert | MISC_CTRL | 91 | 71.9 | 1 1 0
|  |  |  | 29 | -insert | MISC_CTRL | 91 | 71.6 | 1 1 0
|  |  |  | 30 | -insert | MISC_CTRL | 91 | 71.3 | 1 1 0
|  |  |  | 31 | -insert | MISC_CTRL | 91 | 71.0 | 1 1 0
|  |  |  | 32 | -insert | MISC_CTRL | 91 | 70.7 | 1 1 0
|  |  |  | 33 | -insert | MISC_CTRL | 91 | 70.4 | 1 1 0
| 10 | -insert MISC_CTRL | 4 | 34 | -insert | MISC_CTRL | 91 | 70.1 | 1 1 0
|  | 91,79.1 1 1 0 |  | 35 | -insert | MISC_CTRL | 91 | 69.8 | 1 1 0
|  |  |  | 36 | -insert | MISC_CTRL | 91 | 69.5 | 1 1 0
|  |  |  | 37 | -insert | MISC_CTRL | 91 | 69.2 | 1 1 0
|  |  |  | 38 | -insert | MISC_CTRL | 91 | 68.9 | 1 1 0
| 11 | -insert MISC_CTRL | 5
91,78.8 1 1 0
| 12 | -insert MISC_CTRL | 6
91,78.5 1 1 0
| 13 | -insert MISC_CTRL | 7
91,78.2 1 1 0
| 14 | -insert MISC_CTRL | 8
91,77.9 1 1 0
| 15 | -insert MISC_CTRL | 9
91,77.6 1 1 0
| 16 | -insert MISC_CTRL | 10
91,77.3 1 1 0
| 17 | -insert MISC_CTRL | 11
91,77 1 1 0
| 18 | -insert MISC_CTRL | 12
91,76.7 1 1 0
| 19 | -insert MISC_CTRL | 13
91,76.4 1 1 0
| 20 | -insert MISC_CTRL | 14
91,76.1 1 1 0
| 21 | -insert MISC_CTRL | 15
91,75.8 1 1 0
| 22 | -insert MISC_CTRL | 16
91,75.5 1 1 0
| 23 | -insert MISC_CTRL | 17
91,75.2 1 1 0
| 24 | -insert MISC_CTRL | 18
91,74.9 1 1 0
| 25 | -insert MISC_CTRL | 19
91,74.6 1 1 0
| 26 | -insert MISC_CTRL | 20
91,74.3 1 1 0
| 27 | -insert MISC_CTRL | 21
91,74.0 1 1 0
| 28 | -insert MISC_CTRL | 22
91,73.7 1 1 0
| 29 | -insert MISC_CTRL | 23
91,73.4 1 1 0
| 30 | -insert MISC_CTRL | 24
91,73.1 1 1 0
| 31 | -insert MISC_CTRL | 25
91,72.8 1 1 0
| 32 | -insert MISC_CTRL | 26
91,72.5 1 1 0
| 33 | -insert MISC_CTRL | 27
91,72.2 1 1 0
| 34 | -insert MISC_CTRL | 28
91,71.9 1 1 0
| 35 | -insert MISC_CTRL | 29
91,71.6 1 1 0
| 36 | -insert MISC_CTRL | 30
91,71.3 1 1 0
| 37 | -insert MISC_CTRL | 31
91,71.0 1 1 0
| 38 | -insert MISC_CTRL | 32
91,70.7 1 1 0
| 39 | -insert MISC_CTRL | 33
91,70.4 1 1 0
| 40 | -insert MISC_CTRL | 34
91,70.1 1 1 0
| 41 | -insert MISC_CTRL | 35
91,69.8 1 1 0
| 42 | -insert MISC_CTRL | 36
91,69.5 1 1 0
| 43 | -insert MISC_CTRL | 37
91,69.2 1 1 0
| 44 | -insert MISC_CTRL | 38
91,68.9 1 1 0
Note on N1: ACE IP ADDRESS (Primary): Single Vault 10.176.50.(199+X) (X= I/O ACE #) Multiple Vaults 10.176.50+N.(199+X) (N=Node #, X= I/O ACE #) Moxa/ADAM: 10.176.0.(100+X) (X = Device #)
Note on O1: ACE IP ADDRESS (Secondary): Single Vault 10.180.50.X (X=ACE #) Multiple Vaults 10.180.50+N.X (N=Node #, X=ACE #) Moxa/Adam (Secondary): N/A
Note on P1: ACE 3 Slot 0-7 0: Default Card 1-7: Input/Output Cards
Note on Q1: ADAM/MOXA: Inputs: I0 - I6 Outputs: O0 - O6 ACE 3: Calculate by Slot Position Slot 0: 0-2 --> Inputs; 0-5 --> Outputs (There can be multiple 0,1, or 2s) Slot 1: 8-15 (Inputs or Outputs) Slot 2: 16-23 Slot 3: 24-31 Slot 4: 32-39 Slot 5: 40-47 Slot 6: 48-55 Slot 7: 56-63 ACE 1/2: Inputs: 0-7 Outputs: 15-8

## Logs (hidden)
User | Workbook FullName | Sheet Name | Date | Time | Range | Old Value | New Value | Module | Event

## Lists (hidden)
Control Methodology | Enable Logging | FALSE | Control Methodology | Generic | B5:H10 | C4:E4 | ACE™ 3 Integrated | 2.5 | 6.6 | ADB SAFEGATE CSF | NONE | NONE | YES | OUTPUT | OPTO-ISOLATED ; DIGITAL INPUT ; 120VAC / 24VDC | None | 208 V | 0 | CCR Index | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
Lists | Log Sheet | Logs | Preset Values | Runway | K15:Q20 | L14:N14 | ACE™ 3 Wall Mount | 4 | 20 | ADB SAFEGATE CHF | VM | CSR ONLY | NO | INPUT | DRY CONTACT CLOSURE ; 250VAC ; MAX 1A | 120VAC | 220 V | 1 | Misc IO | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
Preset Values | Version | 3.1.0 | FAAO 7110.65 | Taxiway | K25:Q30 | L24:N24 | ACE™ 3 Combobox | 7.5 |  | ADB SAFEGATE FLPP | CVM | CSR / IRMS |  |  | S7-224; DIGITAL INPUT; 24VDC; 2.5mA | 48VDC | 240 V | 2 | System Readiness Check | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
CCR Index |  |  |  | REIL | B15:H20 | C14:E14 | ACE™ 3 SGRS | 10 |  | ADB SAFEGATE FSPP |  | CSR/ RL / PP |  |  | MOXA; DIGITAL INPUT; 24VDC; 2.5mA | 24VDC | 347 V | 3 | CCR Import | PLC 5-STEP 1-LOOP | NOT USED/NOT CONFIGURED
Misc IO |  |  |  | VASI | B25:H30 | C24:E24 |  | 15 |  | ADB SAFEGATE LT8/LT9 |  | CVM ONLY |  |  | MOXA; DRY CONTACT CLOSURE; 24VDC; MAX 1A |  | 480 V | 4 | Lists | PLC 5-STEP 1-LOOP | NOT USED/NOT CONFIGURED
System Readiness Check (CCR) |  |  |  | PAPI | B35:H40 | C34:E34 | ADAM I/O | 20 |  | ADB SAFEGATE LF8/LF9 |  | CVM / IRMS |  |  | ADAM; DIGITAL INPUT; 24VDC; 2.5mA |  | 2400 V | 5 |  | PLC 5-STEP 1-LOOP | NOT USED/NOT CONFIGURED
System Readiness Check (IO) |  |  |  | ALS | B45:H50 | C44:E44 | MOXA I/O | 25 |  | ADB SAFEGATE VIS/CRE |  | ICVM / IRMS |  |  | ADAM; DRY CONTACT CLOSURE; 24VDC; MAX 1A |  |  | 6 |  | PLC 5-STEP 1-LOOP | NOT USED/NOT CONFIGURED
CCR Import |  |  |  | SFL | K5:Q10 | L4:N4 | S7 PLC | 30 |  | ADB SAFEGATE MCR3 |  | CVM2 / IRMS | [5 empty] | 7 |  | PLC 5-STEP 1-LOOP | NOT USED/NOT CONFIGURED
FAAO 7110.65U |  |  |  | Beacon | K35:Q40 | L34:N34 |  | 50 |  | ADB SAFEGATE APS |  | IRMS ONLY | [5 empty] | 8 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
|  |  |  | MALSR | K45:Q50 | L44:N44 | ACE 2e Integrated | 70 |  | ADB SAFEGATE HF |  | DPM 4-20 | [5 empty] | 9 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
|  |  |  | RGL | B55:H60 | C54:E44 | ACE 2e Wall Mount |  |  | CROUSE-HINDS 31000 |  | CT / PT | [5 empty] | 10 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
|  |  |  | SIGN | K55:Q60 | L54:N54 | ACE 2e Combobox |  |  | CROUSE-HINDS 31060-23T | [7 empty] | 11 |  | PLC 5-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[7 empty] | ACE 2e SGRS |  |  | CROUSE-HINDS 31060-S62 | [7 empty] | 12 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[10 empty] | CROUSE-HINDS 82860 | [7 empty] | 13 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[7 empty] | ACE 1 Integrated |  |  | FLIGHT LIGHT | [7 empty] | 14 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[7 empty] | ACE 1 Wall Mount |  |  | GENERAL ELECTRIC (GE) | [7 empty] | 15 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[7 empty] | ACE 1 Combobox |  |  | HEVI-DUTY | [7 empty] | 16 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[7 empty] | ACE 1 Extended IO |  |  | HONEYWELL | [7 empty] | 17 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[7 empty] | ACE 1 SGRS |  |  | MANAIRCO | [7 empty] | 18 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[10 empty] | UNKNOWN (GENERIC) | [7 empty] | 19 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
[10 empty] | WESTINGHOUSE | [7 empty] | 20 |  | PLC 3-STEP 1-LOOP | NOT USED/NOT CONFIGURED
21
22
23
24
25
26
27
28
29
30
31
Note on A1: Sheets tracked by logging.
Note on F1: This space reserved for elements
Note on H1: Print for submittal sheets
Note on J1: List of control tyes
Note on K1: Range
Note on L1: Header range
Note on N1: Control Configuration
Note on P1: kW
Note on R1: CCROut
Note on T1: ManuModel
Note on V1: InMon
Note on X1: OutMon
Note on Z1: Lamps
Note on AB1: Mon
Note on AD1: SASProv
Note on AF1: Vin
Note on AH1: InVolt
Note on AJ1: ACE I/O
Note on AL1: Sheets tracked by logging.
Note on AN1: PLC Configuration